	Parameters
	Pearson’s coefficient (r) 
	(p) values
	Interpretation

	Water Hardness &TDS
	0.274
	> 0.05
	Weak Positive correlation

	Total dissolved solids (TDS) & Alkalinity
	0.68
	> 0.05
	High Positive correlation

	Alkalinity &pH
	0.33
	> 0.05
	Positive correlation

	pH & TDS
	0.32
	>0.05 
	 Positive correlation

	pH & Water Hardness
	0.13
	> 0.05
	Very weak Positive correlation

	Alkalinity & Water Hardness
	0.39
	> 0.05
	Positive correlation



