4.4 Comparative Table of APF Control Strategies

| Control Method | Key Feature | Advantages | Limitations | Typical Application |
| --- | --- | --- | --- | --- |
| SRF / p–q Theory | Synchronous frame transformation | Simple, widely used | Sensitive to unbalanced voltages | Shunt APF in balanced industrial loads |
| Hysteresis Control | Band-limited current regulation | Fast dynamic response | Variable switching frequency | Low/medium power APFs |
| Model Predictive Control (MPC) | Predicts future response | Accurate, fast, handles constraints | High computation, needs model | Medium/high power APFs, renewable microgrids |
| Repetitive / Resonant | Targets periodic disturbances | Excellent harmonic suppression | Limited to periodic harmonics | Industrial harmonics mitigation |
| LADRC | Active disturbance rejection | Robust under unbalanced/fault conditions | Observer tuning complexity | Sensitive load APFs |
| Fuzzy Logic | Rule-based adaptive control | Nonlinear load compensation | Complex rule base | Adaptive compensation in time-varying loads |
| ANN-Based Control | Machine learning reference generation | Self-learning, adaptive | Needs training data | Smart grids, microgrids, AI-enabled APFs |
| Metaheuristic Optimization | PSO, GA, Cuttlefish | Optimized parameters, better performance | Computation heavy | Reference current extraction, parameter tuning |