Photograph

Organization Logo

Title: A Comprehensive Review on Advances in Active Power Filters Topologies and Control Algorithms for Power Quality Improvement

Author Name: Amjad Ali Khan Surque

Co-author Name: Mohd. Ilyas

Co-auther Name: Sheeraz Kirmani
University/Organization: Al Falah University Haryana India

Abstract:

The increasing penetration of nonlinear loads, distributed generation, and renewable energy sources connection have brought many challenges to the power quality in modern electrical networks. This review paper summarizes recent advances in Active Power Filters (APFs), which are used to improve power quality in modern electrical networks by mitigating harmonics and balancing reactive power. The paper covers advances in APF topologies, including modular and reduced-switch designs, and control algorithms, such as Model Predictive Control, Repetitive and Resonant Controllers, and Adaptive Observer-Based Methods. It also explores the application of artificial intelligence techniques for adaptive tuning and optimization.

The paper also show cases hybrid APFs, their coordinated operation with grid-tied converters in microgrids, and the use of wide-bandgap devices (SiC/GaN) for improved efficiency. It identifies challenges like achieving cost-effective and reliable solutions that meet grid standards, and outlines future research directions, including scalable modular topologies, robust adaptive control, and standardized performance evaluation methods. This survey serves as a comprehensive reference for recent advancements in APFs and a guide for their practical application.

Keywords: Power Quality, Active Power Filters (APFs), APF Topologies, APF Control Algorithms.

Biography: Amjad Ali Khan Surque is working as an Electrical Engineering Trainer with the Section of Electrical Power Engineering, Department of Engineering, University of Technology and Applied Sciences, Oman since November 2015. Earlier he had worked as an Assistant Professor with the Department of Electrical and Electronics Engineering, Jawaharlal Nehru Technological University Anantha Puram Affiliated Engineering Colleges, India. He has supervised more than 22 graduation student’s batches. He completed his B.Tech in Electrical and Electronics Engineering from Jawaharlal Nehru Technological University Hyderabad, India in 2007, M.Tech in Power Electronics from Jawaharlal Nehru Technological University Hyderabad, India in 2011, His research areas are power electronics, Power quality, and power systems. He can be contacted at email: amjad.ieee@gmail.com